Aryan 6/24 15:23Edited

MIM Bridge initiated. Critical Site is isolated with network.-INC02222

Praveen 6/24 15:38

Started at 2:42 PM local time

 18:42 GMT

 devices started to ping at 3:29 PM (19:29 GMT)

Praveen 6/24 15:58

ABs not registering to the controller:

AB US-01111ab-04, on switch -sw00

AB US-01111ab-45, on switch -sw09

AB US-01111ab-11, on switch -sw07

 correction, that last one is AB US-01111-12, on switch -sw07

Gautham 6/24 16:06

Current status

========================

Network devices in Floura Site went down due to Power issues.

The power seems to have been restored and ABC and GBS team are confirming Network stability.

Awaiting confirmation from Local customers if network services have been restored.

Praveen 6/24 16:34

it's ab-02, not ap-07

Chandhan ABC 6/24 16:46

A screenshot of a computer

Description automatically generated

Neerav ABC 6/24 16:55

obc-7111-sw01#sh crb ne X  
-------------------------  
Device ID: UB-01111ab-45  
Entry address(es):   
  IP address: 111.XX.XXX.XX  
  IPv6 address: AB12::7XX1:XXXXAAA:1AAA  (link-local)  
Platform: ABCDE ABC-AB1111-A-B9,  Capabilities: OOO Trans  
Interface: X,  Port ID (outgoing port): QQQ  
Holdtime : 122 sec

Aryan 6/24 17:10

Issue resolved

MIM Closed.

Problem ticket - PRB001111